## Monthly rawdata
| ENERGY - SOLAR | [8 empty] | ENERGY GRID |  |  |  |  | CO2 reduction |  |  | POWER | METEOROLOGICAL | [5 empty] | CO2 coeffient | Normal hour rate | Peak hour rate | GRAPH
| Active energy | [5 empty] | Reactive energy |  | Cosphi | Active energy |  | Reactive energy |  | Cosphi
Date | Daily energy | Maximum estimate energy | Daily energy (Normal hour) | Daily energy (Peak hour) | Monthly cumulative energy | Life time cumulative energy | Daily ReActive Energy | Monthly cumulative Energy |  | Daily active Energy | Monthly Cumulative energy | Daily Energy | Monthly Energy |  | Daily CO2 emission reduction | Monthly cumulative reduction | Cumulative reduction from COD | Daily Peak power | Daily Average PV temperature | Daily Average Ambient Temperature | Daily Irradiance-1 | Monthly cumulative irradiance | Money Savings | Load Energy |  |  |  | Daily energy | Money Savings | Daily CO2 emission reduction
| (kWh) | (kWh) | (kWh) | (kWh) | (kWh) | (kWh) | kVar | kVar | [6 empty] | (tons) |  |  | (kW) | (C) |  | (kWh/m2) | (kWh/m2) | (mVND) | (kWh) |  |  |  | (kWh) | (mVND) | (tons)
01-11-2025 | 1119 | 1523.97 | 746 | 373 | 1119 | 1131908 | 653 | 653 | 0.864 | 3865 | 3865 | 1226 | 1226 | 0.953 | 0.76 | 0.76 | 765.85 | 394 | 36.2 | 28.33 | 2.4 | 2.4 | 2.4 | 0 |  |  |  | #N/A | #N/A | #N/A
02-11-2025 | 1286 | 3018.49 | 1286 | 0 | 2405 | 1133194 | 736 | 1389 | 0.866 | 2771 | 6636 | 822 | 2048 | 0.956 | 0.87 | 1.63 | 766.72 | 331 | 43.58 | 30.14 | 4.75 | 7.15 | 2.15 | 0 |  |  |  | #N/A | #N/A | #N/A
03-11-2025 | 1279 | 1354.87 | 1124 | 155 | 3684 | 1134473 | 746 | 2135 | 0.865 | 4999 | 11635 | 1537 | 3585 | 0.956 | 0.87 | 2.49 | 767.58 | 431 | 32.01 | 27.44 | 2.13 | 9.28 | 2.36 | 0 |  |  |  | #N/A | #N/A | #N/A
04-11-2025 | 1882 | 2363.06 | 1297 | 585 | 5566 | 1136355 | 1070 | 3205 | 0.867 | 5680 | 17315 | 1838 | 5423 | 0.954 | 1.27 | 3.77 | 768.86 | 578 | 38.93 | 29.41 | 3.72 | 12.99 | 3.97 | 0 |  |  |  | #N/A | #N/A | #N/A
05-11-2025 | 1921 | 2117.12 | 1921 | 0 | 7487 | 1138276 | 1132 | 4337 | 0.865 | 9431 | 26746 | 3343 | 8766 | 0.95 | 1.3 | 5.07 | 770.16 | 561 | 37.64 | 29.28 | 3.33 | 16.32 | 3.21 | 0 |  |  |  | #N/A | #N/A | #N/A
06-11-2025 | 930 | 903.96 | 673 | 257 | 8417 | 1139206 | 588 | 4925 | 0.863 | 8526 | 35272 | 3124 | 11890 | 0.948 | 0.63 | 5.69 | 770.79 | 181 | 31.21 | 28.14 | 1.42 | 17.75 | 1.92 | 0 |  |  |  | #N/A | #N/A | #N/A
07-11-2025 | 1731 | 1883.09 | 1074 | 657 | 10148 | 1140937 | 1019 | 5944 | 0.863 | 8488 | 43760 | 2917 | 14807 | 0.947 | 1.17 | 6.87 | 771.96 | 498 | 35.89 | 29.09 | 2.96 | 20.71 | 3.82 | 0 |  |  |  | #N/A | #N/A | #N/A
08-11-2025 | 1525 | 2880.9 | 1181 | 344 | 11673 | 1142462 | 881 | 6825 | 0.863 | 4566 | 48326 | 1658 | 16465 | 0.947 | 1.03 | 7.9 | 772.99 | 387 | 45.97 | 32.17 | 4.53 | 25.24 | 3.04 | 0 |  |  |  | #N/A | #N/A | #N/A
09-11-2025 | 1137 | 2422.89 | 1137 | 0 | 12810 | 1143599 | 663 | 7488 | 0.863 | 2950 | 51276 | 957 | 17422 | 0.947 | 0.77 | 8.67 | 773.76 | 281 | 43.84 | 31.07 | 3.81 | 29.05 | 1.9 | 0 |  |  |  | #N/A | #N/A | #N/A
10-11-2025 | 2623 | 2992.04 | 1770 | 853 | 15433 | 1146222 | 1453 | 8941 | 0.865 | 3265 | 54541 | 866 | 18288 | 0.948 | 1.77 | 10.44 | 775.53 | 552 | 43.77 | 31.27 | 4.71 | 33.76 | 5.59 | 0 |  |  |  | #N/A | #N/A | #N/A
11-11-2025 | 2022 | 2176.11 | 1364 | 658 | 17455 | 1148244 | 1232 | 10173 | 0.854 | 7221 | 61762 | 2583 | 20871 | 0.942 | 1.37 | 11.81 | 776.9 | 512 | 40.94 | 31.08 | 3.42 | 37.18 | 4.31 | 0 |  |  |  | #N/A | #N/A | #N/A
12-11-2025 | 1689 | 1789.3 | 1308 | 381 | 19144 | 1149933 | 1059 | 11232 | 0.851 | 10631 | 72393 | 3940 | 24811 | 0.939 | 1.14 | 12.95 | 778.04 | 484 | 36.29 | 29.3 | 2.81 | 40 | 3.36 | 0 |  |  |  | #N/A | #N/A | #N/A
13-11-2025 | 2462 | 2696.36 | 1818 | 644 | 21606 | 1152395 | 1467 | 12699 | 0.854 | 9228 | 81621 | 3108 | 27919 | 0.942 | 1.67 | 14.62 | 779.71 | 535 | 40.68 | 29.89 | 4.24 | 44.24 | 5.03 | 0 |  |  |  | #N/A | #N/A | #N/A
14-11-2025 | 3312 | 3676.94 | 2360 | 952 | 24918 | 1155707 | 1959 | 14658 | 0.856 | 7308 | 88929 | 2319 | 30238 | 0.945 | 2.24 | 16.86 | 781.95 | 500 | 44.14 | 30.4 | 5.78 | 50.02 | 6.88 | 0 |  |  |  | #N/A | #N/A | #N/A
15-11-2025 | 1672 | 3334.99 | 1300 | 372 | 26590 | 1157379 | 903 | 15561 | 0.86 | 3961 | 92890 | 1314 | 31552 | 0.945 | 1.13 | 17.99 | 783.08 | 387 | 43.73 | 29.51 | 5.25 | 55.27 | 3.32 | 0 |  |  |  | #N/A | #N/A | #N/A
16-11-2025 | 1116 | 2071.14 | 1116 | 0 | 27706 | 1158495 | 639 | 16200 | 0.861 | 3139 | 96029 | 999 | 32551 | 0.946 | 0.76 | 18.75 | 783.84 | 388 | 37.86 | 28.3 | 3.26 | 58.53 | 1.86 | 0 |  |  |  | #N/A | #N/A | #N/A
17-11-2025 | 1493 | 1722.75 | 1169 | 324 | 29199 | 1159988 | 862 | 17062 | 0.861 | 5442 | 101471 | 1794 | 34345 | 0.946 | 1.01 | 19.76 | 784.85 | 443 | 37.39 | 29.07 | 2.71 | 61.24 | 2.95 | 0 |  |  |  | #N/A | #N/A | #N/A
18-11-2025 | 1813 | 1938.02 | 1317 | 496 | 31012 | 1161801 | 1127 | 18189 | 0.86 | 11053 | 112524 | 3976 | 38321 | 0.945 | 1.23 | 20.98 | 786.07 | 589 | 35.96 | 28.53 | 3.05 | 64.29 | 3.73 | 0 |  |  |  | #N/A | #N/A | #N/A
19-11-2025 | 2754 | 3192.16 | 1894 | 860 | 33766 | 1164555 | 1587 | 19776 | 0.861 | 8061 | 120585 | 2779 | 41100 | 0.945 | 1.86 | 22.85 | 787.94 | 506 | 40.44 | 29.76 | 5.02 | 69.31 | 5.82 | 0 |  |  |  | #N/A | #N/A | #N/A
20-11-2025 | 2120 | 2259.78 | 1477 | 643 | 35886 | 1166675 | 1321 | 21097 | 0.86 | 9665 | 130250 | 3428 | 44528 | 0.945 | 1.43 | 24.28 | 789.37 | 450 | 37.31 | 28.48 | 3.55 | 72.86 | 4.45 | 0 |  |  |  | #N/A | #N/A | #N/A
21-11-2025 | 1934 | 2091.57 | 1271 | 663 | 37820 | 1168609 | 1160 | 22257 | 0.858 | 7611 | 137861 | 2652 | 47180 | 0.944 | 1.31 | 25.59 | 790.68 | 556 | 35.99 | 28.36 | 3.29 | 76.15 | 4.17 | 0 |  |  |  | #N/A | #N/A | #N/A
22-11-2025 | 1209 | 1383.54 | 872 | 337 | 39029 | 1169818 | 722 | 22979 | 0.858 | 4336 | 142197 | 1477 | 48657 | 0.945 | 0.82 | 26.41 | 791.5 | 272 | 32.67 | 27.43 | 2.18 | 78.33 | 2.5 | 0 |  |  |  | #N/A | #N/A | #N/A
23-11-2025 | 1258 | 2216.24 | 1258 | 0 | 40287 | 1171076 | 747 | 23726 | 0.858 | 3245 | 145442 | 1134 | 49791 | 0.945 | 0.85 | 27.26 | 792.35 | 350 | 39.57 | 29.36 | 3.49 | 81.82 | 2.1 | 0 |  |  |  | #N/A | #N/A | #N/A
24-11-2025 | 2709 | 3276.54 | 1924 | 785 | 42996 | 1173785 | 1443 | 25169 | 0.868 | 3831 | 149273 | 1178 | 50969 | 0.947 | 1.83 | 29.09 | 794.18 | 471 | 45 | 30.79 | 5.15 | 86.97 | 5.64 | 0 |  |  |  | #N/A | #N/A | #N/A
25-11-2025 | 2654 | 3138.38 | 1873 | 781 | 45650 | 1176439 | 1433 | 26602 | 0.871 | 5945 | 155218 | 1923 | 52892 | 0.948 | 1.8 | 30.89 | 795.98 | 494 | 40.85 | 29.47 | 4.94 | 91.91 | 5.54 | 0 |  |  |  | #N/A | #N/A | #N/A
26-11-2025 | 2707 | 3373.45 | 1967 | 740 | 48357 | 1179146 | 1482 | 28084 | 0.872 | 4940 | 160158 | 1637 | 54529 | 0.948 | 1.83 | 32.72 | 797.81 | 469 | 42.47 | 29.02 | 5.31 | 97.21 | 5.57 | 0 |  |  |  | #N/A | #N/A | #N/A
27-11-2025 | 2644 | 3563.55 | 1974 | 670 | 51001 | 1181790 | 1419 | 29503 | 0.874 | 3120 | 163278 | 864 | 55393 | 0.95 | 1.79 | 34.51 | 799.6 | 460 | 41.07 | 28.89 | 5.61 | 102.82 | 5.37 | 0 |  |  |  | #N/A | #N/A | #N/A
28-11-2025 | 0 | 0 | 0 | 0 | 51001 | 0 | 0 | 29503 | 0 | 0 | 163278 | 0 | 55393 | 0 | 0 | 34.51 | 0 | 0 | 0 | 0 | 0 | 102.82 | 0 | 0 |  |  |  | #N/A | #N/A | #N/A
29-11-2025 | 0 | 0 | 0 | 0 | 51001 | 0 | 0 | 29503 | 0 | 0 | 163278 | 0 | 55393 | 0 | 0 | 34.51 | 0 | 0 | 0 | 0 | 0 | 102.82 | 0 | 0 |  |  |  | #N/A | #N/A | #N/A
30-11-2025 | 0 | 0 | 0 | 0 | 51001 | 0 | 0 | 29503 | 0 | 0 | 163278 | 0 | 55393 | 0 | 0 | 34.51 | 0 | 0 | 0 | 0 | 0 | 102.82 | 0 | 0 |  |  |  | #N/A | #N/A | #N/A
[24 empty] | 0 |  |  |  | #N/A | #N/A | #N/A

## Graph 1
MONTHLY SVL TOTAL SOLAR ENERGY AND MONEY SAVINGS
Total solar energy: | 0
Total money savings: | 0

## Graph 2
MONTHLY SVl TOTAL SOLAR ENERGY AND CO2 EMISSION REDUCTION
Total solar energy: | 0
Total CO2 emission reduction: | 0